Capital Planning

Task Force

List of Projects

December 2016

Contents

Introduction	4

Definition of Terms	4

Maintenance Projects – Immediate	5

Administration/Education Building	5

Lighting ($23,517)	5

Fellowship Hall	6

Re-roofing ($36,000)	6

Repair stucco facade ($24,000)	7

Replace foyer windows ($36,000)	8

Sanctuary	9

Maintenance Projects – Soon	9

Fellowship Hall	9

Repair Iron Gate going to A/C units ($1,200)	9

Replace doors ($3,000)	10

Administrative/Education Building	11

Bricks missing wall open ($2,400)	11

Seal stucco on Education and Administration Building ($??)	12

Seal Window Frames on Education and Administration Building ($1,440)	13

Replace tall stained glass windows on Education and Administration Building ($7,200)	14

Spruce up First Floor in Education and Administration Building ($54,600)	15

Spruce up Second Floor in Education and Administration Building ($2,760)	17

Replace Interior Doors in Education and Administration Building ($20,400)	18

Sanctuary Building	19

Replace sanctuary roof ($62,400)	19

Repair Sanctuary Gutters and downspouts ($2,400)	20

Replace sanctuary mechanical door ($2,400)	21

Seal stucco on sanctuary ($??)	22

Improvement Projects	23

Administration/Education Building	23

Renovate Administration wing (Offices, bathroom, classrooms, BH, Kitchen) ($459,000)	23

Fellowship Hall	24

Fellowship Hall Expansion ($840,000)	24

Sanctuary	25

Build classrooms on Sanctuary ($480,000)	25

Video Screen in Narthex of Sanctuary ($1,500)	26

Video Screens in the Sanctuary (ditch the projectors) ($30,000)	27

Improve Acoustics in Sanctuary ($8,464)	28

Improve Lighting in Sanctuary ($6,675)	29

Other	30

Close WPC	30

Gym and Pool ($1,747,200)	31

Playground ($38,400)	32

Community Garden ($31,890)	33

Exterior Lights ($9,582)	35

Playground ($46,000)	36

Move worship to Fellowship Hall ($922,000)	37

Move to a New Location ($1,500,000)	38

Organ ($136,819)	39

# Introduction

This document lists the maintenance projects that were identified by the CPTF as “immediate” or “soon” as well as identified improvements.

# Definition of Terms

Immediate means…

# Maintenance Projects – Immediate

## Administration/Education Building

### Lighting ($23,517)

Project Description:

Change out lighting to LED lighting in all of the classrooms and hallways.

Justification:

Brightening the hallway and classrooms will be more welcoming and cleaner looking.  Changing to LED lighting will reduce the energy usage by 80%.  The lights quoted here have a life of 168,000 hours.  This was one of the main findings of the Energy Survey that was completed in 2Q of 2016.

Benefits:

A well-lit church is more inviting to all church members (existing and potential).  A brighter interior presents an image of good stewardship to members and visitors.

Cost:

Assumption:  Replace 50% of the 4x2 light fixtures.

Equipment:

| Fixture Type | 1st Floor | 2nd Floor | Total |
| --- | --- | --- | --- |
| 2x4 (Replace with 4 LED bulbs) | 42 | 57 | 99 (396 Star T8 bulbs) |
| 1x1 fixture | 13 | 11 | 23 |

Equipment:	396 Star T8 bulbs x $19/ea = 	$7,524

23 1x1 Fixtures x $91/ea =	$2,093

50 4x2 light fixtures x $100 =	$5,000

Total				$14,617

Installation:	50 4x2 light fixtures x $100 =	$5,000

Contingency (20%)				$3,900

Total Est Cost					$23,517

How will we pay for it? :

Capital Fund Drive

## Fellowship Hall

### Re-roofing ($36,000)

Project Description:

New roof on Fellowship Hall.

Justification:

It is 30 years old and failing.

Benefits:

Avoiding interior damage.

Cost:

$30,000 as estimated by building inspector.

Contingency (20%)				$6,000

Total Est Cost					$36,000

How will we pay for it? :

Capital Fund Drive

### Repair stucco facade ($24,000)

Project Description:

Repair stucco façade.

Justification:

Many areas of upper and lower exterior walls are badly faded and cracked.

Benefits:

Avoiding further interior damage.

Cost:

$20,000 as estimated by building inspector.

Contingency (20%)				$4,000

Total Est Cost					$24,000

How will we pay for it? :

Capital Fund Drive

### Replace foyer windows ($36,000)

Project Description:

Replace foyer windows.

Justification:

Rusted/pitted window frames.

Benefits:

Avoiding further interior damage.

Cost:

$30,000 as estimated by building inspector.

Contingency (20%)				$6,000

Total Est Cost					$36,000

How will we pay for it? :

Capital Fund Drive

## Sanctuary

# Maintenance Projects – Soon

## Fellowship Hall

### Repair Iron Gate going to A/C units ($1,200)

Project Description:

Repair Iron Gate going to A/C units

Justification:

Iron Gate broken.

Benefits:

Avoiding further interior damage.

Cost:

$1,000 as estimated by building inspector.

Contingency (20%)				$200

Total Est Cost					$1,200

How will we pay for it? :

Capital Fund Drive

### Replace doors ($3,000)

Project Description:

Replace main entry doors.

Justification:

They have been in very bad shape for a number of years.

Benefits:

Avoiding further interior damage.

Cost:

$2,500 as estimated by building inspector.

Contingency (20%)				$500

Total Est Cost					$3,000

How will we pay for it? :

Capital Fund Drive

## Administrative/Education Building

### Bricks missing wall open ($2,400)

Project Description:

Bricks missing, wall open.  Details (including photos) in inspector assessment document.

Justification:

Inspector assessed it as needing repair.

Benefits:

Avoiding further interior damage.

Cost:

$2,000 as estimated by building inspector.

Contingency (20%)				$400

Total Est Cost					$2,400

How will we pay for it? :

Capital Fund Drive

### Seal stucco on Education and Administration Building ($??)

Project Description:

Seal stucco on Education and Administration Building

Justification:

Inspector assessed it as needing repair.

Benefits:

Avoiding further interior damage.

Cost:

$?? as estimated by building inspector.

Contingency (20%)				$

Total Est Cost					$

How will we pay for it? :

Capital Fund Drive

### Seal Window Frames on Education and Administration Building ($1,440)

Project Description:

Seal Window Frames on Education and Administration Building

Justification:

Inspector assessed it as needing repair.

Benefits:

Avoiding further interior damage.

Cost:

$1200 as estimated by building inspector.

Contingency (20%)				$240

Total Est Cost					$1,440

How will we pay for it? :

Capital Fund Drive

### Replace tall stained glass windows on Education and Administration Building ($7,200)

Project Description:

Replace tall stained glass windows on Education and Administration Building

Justification:

Inspector assessed it as needing repair.

Benefits:

Avoiding further interior damage.

Cost:

$6000 as estimated by building inspector.

Contingency (20%)				$7,200

Total Est Cost					$1,440

How will we pay for it? :

Capital Fund Drive

### Spruce up First Floor in Education and Administration Building ($54,600)

Project Title:  	Spruce up the 1st Floor CE Wing.

This includes the following projects:

Children & Youth Rooms Updated and Easily Identified

Repair Floor near Entrance

Repaint Interior Rooms a Brighter Color

Hire a Decorator to Choose Colors for 1st Floor CE Wing

Run all wires in surface conduit

Project Description:

Update classroom cabinets and post room signs in the hall way.  This will improve and modernize the classrooms in the CE Wing.  Specifically:

- Rm 102 (Nursery):  Replace floor (430 sq ft).  Remove old paint and repaint walls (740 sq ft).  Install new baseboards.  Remove old paint and repaint shelves.  Replace cabinets, counter and sink.

- Shared Bathroom between Rm 102 & 104:  Replace floor (40 sq ft).  Remove old paint and repaint walls (200 sq ft).  Install new baseboards. Replace sink and toilet.

- Rm 101 (Parent’s Classroom):  Replace floor (200 sq ft).  Remove old paint and repaint walls (600 sq ft). Install new baseboards.  Replace cabinets, counter and remove sink.

- Rm 104 (Noah’s Ark Room):  Replace floor (420 sq ft).  Install new baseboards.  Replace cabinets, counter and sink.

- Rm 105 (Godly Play Room):  Replace floor (540 sq ft).  Remove old paint and repaint walls (850 sq ft).  Install new baseboards.  Remove old paint and repaint shelves.  Replace cabinets, counter and sink.

- Rm 106:  Replace floor (410 sq ft).  Remove old paint and repaint walls (730 sq ft).  Install new baseboards.  Remove old paint and repaint shelves.  Replace cabinets. Remove old window A/C unit and replace with window.  Convert attached bathroom (10 x 6.5) to storage space, remove sink and toilets.

- Hallway:  Replace Floor (650 sq ft).  Remove old paint and repaint walls (1400 sq ft).  Install new baseboards.  Install room signs.  Install interior conduit and route loose wiring through conduit from office to CE Wing.  Replace Emergency Exit Signs

Hire a Decorator to select color scheme for the 1st floor of the CE Wing to make it eye pleasing.  Just an observation – There are too many coats of paint on the doors, cabinets and shelves.  Repainting will not enhance the look alone.  What items that are not replaced should be stripped of all old paint before repainting to improve the look.

Justification:

Assist new members and visitors in finding the proper classroom for their children.  Improve the appearance of the classrooms to make them more welcoming to members and visitors.

Benefits:

A modern looking interior and classrooms will present an image of good stewardship to members and visitors.  It will make it more welcoming.

Cost:

Equipment

Floors (2690 sq ft.):  		$4,700 (www.homewyse.com)

Paint (4520 sq ft.):  		12 gal x $50 = $600

Cabinets (5 units):  		$1000 ea x 5 = $5,000

Counter tops (4 each):  	$230 ea x 4 = $920

Sinks (3 each):  		$200 ea x 3 = $600

Baseboards (650 ft):  		$800

Bathroom Sink (1 each):	$150

Toilet (1 each):  		$400

Conduit: (120 ft):		$150

Emergency Exit Signs:		2 ea x $40 = $80

Total Equipment		$13,400

Installation:

Floors (4520 sq ft.):  		$18,500 (www.homewyse.com)

Paint (4520 sq ft):		$4,500

Cabinets (5 units):  		$500 ea x 5 = $2,500

Counter tops (4 each):  	$270 ea x 4 = $1,080

Sinks (3 each):  		$300 ea x 3 = $900

Baseboards (650 ft):  		$3,500

Bathroom Sink (1 each):  	$330

Toilet (1each): 		$220

Conduit:			$150

Decorator:			$500

Total Installation:		$32,180

20% Contingency		$9,100

Total Est. Cost			$54,680

How will we pay for it? :

Capital Fund Drive

### Spruce up Second Floor in Education and Administration Building ($2,760)

Project Title:  	Spruce Up 2nd Floor Classrooms in CE Wing

Project Description:

Repair Storage rooms and post room signs in the hall way.  This will improve and modernize the classrooms on the 2nd floor of the CE Wing.  The lighting and interior doors are addressed in other projects.  So there is not much to change upstairs.  Lorrie Foreman did not recommend repainting, since it is used by our Youth and they have repainted already.  Specifically what needs to be done is:

- Rm 202:  Replace floor and repair ceiling (water damage).  Paint Walls.  Dimensions are 19’ x 13’

- Rm 201:  Finish storage closet with paint, lighting and flooring (dimensions 9.25’ x 6.5’)

Roof must be repaired before fixing the interior of the building.

Justification:

Protect the materials stored in rooms 201 and 202.  Being good stewards of the resources used by our children and youth.

Benefits:

Reduce the cost of replacing potential damaged resources (i.e. props, costumes, Sunday School materials) if repairs are not made.

Cost:

Equipment:

Floors (300 sq ft.):  	$500 (www.homewyse.com)

Paint (4520 sq ft.):  	2 gal x $50 = $100

Total Equipment	$600

Installation

Floors (300 sq ft.):  	$1,200 (www.homewyse.com)

Paint (4520 sq ft.):  	$500

Total Installation	$1,700

Contingency (20%)	$460

Total Est. Cost		$2,760

How will we pay for it? :

Capital Fund Drive

### Replace Interior Doors in Education and Administration Building ($20,400)

Project Description:

Change out the interior doors in the CE Wing.

Justification:

This was suggested by Lorrie Foreman to complete the renovation of the 1st floor of the CE Wing.  This would make all of the doors look the same, giving a neater appearance.  There are 14 doors downstairs and 11 doors upstairs.  Ms. Foreman was focused on the 1st floor.  She did not specifically mention the doors on the 2nd floor.

Benefits:

The doors look out of date.  This is more obvious to first time visitors than people that existing members. A neater interior will present an image of good stewardship to members and visitors.  It will make it more welcoming.  Just an observation – There are too many coats of paint on the doors.  Repainting will not enhance the look alone.  The doors must be stripped of all old paint before repainting to improve the look.

Cost:

Equipment:	25 doors x $500/door = $12,500   All doors quoted as louvered Dutch Doors

Installation:	25 doors x $300/door = $  7,500

Contingency 20%			$     400

Total Est Cost:				$20,400

How will we pay for it? :

Capital Fund Drive

## Sanctuary Building

### Replace sanctuary roof ($62,400)

Project Description:

Replace sanctuary roof

Justification:

Inspector assessed it as needing replacement.

Benefits:

Avoiding further interior damage.

Cost:

$52,000 as estimated by building inspector.

Contingency (20%)				$10,400

Total Est Cost					$62,400

How will we pay for it? :

Capital Fund Drive

### Repair Sanctuary Gutters and downspouts ($2,400)

Project Description:

Replace sanctuary roof

Justification:

Inspector assessed it as needing repair.

Benefits:

Avoiding further interior damage.

Cost:

$2,000 as estimated by building inspector.

Contingency (20%)				$400

Total Est Cost					$2,400

How will we pay for it? :

Capital Fund Drive

### Replace sanctuary mechanical door ($2,400)

Project Description:

Replace sanctuary mechanical

Justification:

Inspector assessed it as needing repair.

Benefits:

Avoiding further interior damage.

Cost:

$2,000 as estimated by building inspector.

Contingency (20%)				$400

Total Est Cost					$2,400

How will we pay for it? :

Capital Fund Drive

### Seal stucco on sanctuary ($??)

Project Description:

Seal stucco on sanctuary

Justification:

Inspector assessed it as needing repair.

Benefits:

Avoiding further interior damage.

Cost:

$?? as estimated by building inspector.

Contingency (20%)				$

Total Est Cost					$

How will we pay for it? :

Capital Fund Drive

# Improvement Projects

## Administration/Education Building

### Renovate Administration wing (Offices, bathroom, classrooms, BH, Kitchen) ($459,000)

Project Description:

Completely remodel the Administrative wing.

Justification:

Benefits:

Cost:

Admin wing:

Restructure Offices/Meeting Room:			$200,000

Bathrooms – ADA Compliant space:  			$80,000

Carpet (est. 4000 sq ft at $5/sq ft):			$20,000

Ceiling tiles and grids:					$40,920

BH only:					$21,600

Renovate Kitchen cabinets:				$20,000

Subtotal Cost:						$382,520

20% Contingency					$76,504

Total Est Cost:						$459,024

How will we pay for it? :

Capital Fund Drive

## Fellowship Hall

### Fellowship Hall Expansion ($840,000)

Project Description:

Complete as per plan

Justification:

Benefits:

Cost:

Fellowship Hall

- Per Campus Plan:						$840,000

– Bathrooms (including showers), kitchen, and classrooms. Est. includes contingency

- Scaled down version

- Kitchen/Bathrooms Only:				$345,000

- Classrooms inside – Movable wall 11X25 need 2:	$40,000

- Carpet:						$20,000

Subtotal Cost:					$405,000

Additional Maintenance Issues

Exterior Spruce up:					$90,000

New Roof						$

Subtotal Cost:					$

How will we pay for it? :

Capital Fund Drive

## Sanctuary

### Build classrooms on Sanctuary ($480,000)

Project Description:

Classrooms

Justification:

Benefits:

Cost:

Classrooms

2000 sq ft at $200/ sq ft for 5 rooms ea 400 sq ft:		$400,000

Subtotal Cost:					$400,000

20% Contingency  						$80,000

Estimated Total  Cost:						$480,000

How will we pay for it? :

Capital Fund Drive

### Video Screen in Narthex of Sanctuary ($1,500)

Project Title:  	Video screen in Narthex

Project Description:

Install a video screen in the narthex to display upcoming events and the worship service

Justification:

Lessen the clutter in the narthex.  Instead of “flyers” they are electronic and scrolling.

Benefits:

Lessen the clutter in the narthex.

Cost:

TV: $400.  Computer to run TV: $400.  Wiring to the A/V: $400.  Literature rack: $300.  Total: $1,500.

Contingency (20%)					$300

Total Est Cost						$1,800

How will we pay for it? :

Capital Fund Drive

### Video Screens in the Sanctuary (ditch the projectors) ($30,000)

Project Title:  	Video panels in the sanctuary (ditch the projectors and screens)

Project Description:

Video panels in the sanctuary (ditch the projectors and screens)

Justification:

None.

All guidance directs otherwise.  I.e. for rooms larger than 50 people projection is a superior solution.  A LCD or LED screen would be a step backward in video quality.  If we did-the biggest flat screen sold is 92” – I don’t think that’s as big as our current projection and those are about $10,000 per screen.  Add another $5,000 to re-wire for both.  Total at $25,000.  The only reason displays would be advised over projection is where there was no way to hang projectors.  We already have that solved.

Benefits:

None.

Cost:

$25,000

Contingency (20%)					$5,000

Total Est Cost						$30,000

How will we pay for it? :

Capital Fund Drive

### Improve Acoustics in Sanctuary ($8,464)

Project Title:  	Sanctuary Building Acoustics

Project Description:

Improve the acoustics in the sanctuary

Justification:

1)    The “sound” in the sanctuary has been an issue since day one.  The architects and our team had many meetings about this while under construction and it took about a year) to get headset mics to clean up part of the problem.  We should hang vertical arrays in front of the chancel and place some acoustic dressing on the back wall for reflections (best case).  It would sound lots better with just the arrays and the dressing will make it even better.

Benefits:

Being able to hear the service is more inviting to all church members (existing and potential).

Cost:

UPDATE: Ross got a quote from Sweetwater on acoustics panels: Total: $7054.

Contingency (20%)					$1,410

Total Est Cost						$8,464

How will we pay for it? :

Capital Fund Drive

### Improve Lighting in Sanctuary ($6,675)

Project Title:  	Sanctuary Building Interior Lighting

Project Description:

Change out lighting in the Narthex and Sanctuary to LED lighting.

Justification:

There are issues with the lighting in the Sanctuary, where the light bulbs in certain areas do not last long.  The existing lights are 500 Watt Incandescent bulbs which emit a lot of heat inside the light fixture.  New LED Lighting would reduce the power required for each bulb from 500 Watts to 15 Watts.  There would also be a reduction in cost to change out light bulbs since the LED life is >200,000 hrs.

The narthex light bulbs are fluorescent U bend bulbs and expensive.  Replacing the fixture with an LED fixture would reduce operating and bulb costs due to the lower wattage requirement and longer life.

Benefits:

A well-lit church is more inviting to all church members (existing and potential).  A brighter interior presents an image of good stewardship to members and visitors.

Cost:

Equipment:	70 6” LED Can Lights x $31/ea = 		$2,170

14 2x2 Fixtures x $110/ea =		$1,540

Total					$3,710

Installation:	50% of Equip Cost =			$1,855

Contingency (20%)					$1,110

Total Est Cost						$6,675

How will we pay for it? :

Capital Fund Drive

## Other

### Close WPC

Project Description:

Close the doors and walk away.

Justification:

There is no justification for this option so it was not seriously considered.

Benefits:

None.

Cost:

More than 120 years of history and goodwill.

### Gym and Pool ($1,747,200)

Project Description:

Gym/Pool

Justification:

Benefits:

Cost:

Gym/Pool

- Regulations sized gym – 8,000 sq ft:				$800,000

- 25 Meter Pool – 82X40=3280 sq ft:				$656,000

Subtotal Cost:					$1,456,000

20% Contingency  						$291,200

Estimated Total  Cost:						$1,747,200

How will we pay for it? :

Capital Fund Drive

### Playground ($38,400)

Project Description:

Create a new playground with modern equipment in the area of the old playground.

Justification:

Install new playground in the area of the old playground, with modern fun equipment.

Fenced:  A fenced playground would add a secure feeling to parents while in worship service. But would send a “closed” message to the community.

Open:  An open playground would help our presence in the local community.  But young parents might hesitate entrusting their children to the nursery staff if the children are outside, close to a street.

Benefits:

A playground would attract young families to our church.  A child’s playground would be another place for our neighbors to gather.

Cost:

Equipment:

Play Ground Equipment:  				$20,000

Playground Surface:  (50’ x 50’ x 4” = 833 cu ft) :	$5,000

Ground Cloth (50’ x 50’ = 2,500 sq ft) :			$300

Playground Curbing:  (200 ft) :				$1,700

Installation:

Est Cost:						$5,000

20% Contingency					$6,400

Total Est Cost:						$38,400

How will we pay for it? :

Capital Fund Drive

### Community Garden ($31,890)

Project Title:  	Create a Community Garden or Labyrinth

Project Description:

Create a community garden or Labyrinth in the area of the old playground.

Justification:

A community garden would increase our presence in the community if we can get the local community involved.  It could provide food for the local community directly or through a food bank.  If done correctly, it would allow members and neighbors to work side by side.

A Labyrinth would be less labor intensive to maintain than the garden.  It would increase the spiritual experience of members and visitors alike.

Both options would enhance the beauty of our grounds and make our church more appealing.

Benefits:

Increase the worship experience of all that use the garden or the labyrinth.  Give WPC a better presence in the local community.  Make the church more appealing.

Cost:

Garden:

Equipment:

Tiller Rental (per year)		$70 per year

Seed:				$50 per year

Fertilizer:				$50 per year

Water:				$150 per year

Installation:				Labor would be volunteers

20% Contingency = 			$60

Total Est. Cost = 			$380 per year

Labyrinth:

Equipment:

Paver Kit (30’ diameter) = 		$16,900

Base Layer (Sand) 17.6 Tons = 	$300

Edge Restraints = 			$80

Paver Sand = 			$260

Total Equipment =			$17,540

Installation:

Remove Soil =			$1,400

Install Landscape Fabric = 		$300

Base layer = 			$350

Install Pavers = 			$7000

Total Installation = 			$9,050

20% Contingency =			$5,300

Total Est Cost = 				$31,890

How will we pay for it? :

Capital Fund Drive

### Exterior Lights ($9,582)

Project Title:  	Improve Exterior Lighting

Project Description:

Replace all exterior lights with LED fixtures.  Set the lights on a timer or photocell.

Justification:

This is a safety issue for all evening activities.  It is difficult to walk from any building to your car at night without adequate lighting.  The existing light do not work.  New bulbs only last a short time (months) before they stop functioning.  The lights should be on a timer or photocell so they are always on during the times they are needed.  This was one of the main findings of the Energy Survey that was completed in 2Q of 2016.

Benefits:

A well-lit church is more inviting to all church members (existing and potential).  Replacing the fixture with LED light fixtures will improve the reliability and the power usage of the lights.  LED fixtures should last > 200,000 hrs (> 20yrs). The power usage will be ~20% of the existing usage.

The current parking light ballasts are still drawing power even though the lights do not work.

Cost:

Equipment:

Parking Lot:		9 lights x $378/light = $3402

Perimeter:		10 lights x $192/light = $1920

Installation:

Parking Lot:		50% of light cost = $1700

Perimeter:		50% of light cost = $960

20% Contingency	$1600

Total Est. Cost		$9582

How will we pay for it? :

Capital Fund Drive

### Playground ($46,000)

Project Description:

Create a new playground with modern equipment in the area of the old playground.  Playground area would be 50’ x 50’ with modern equipment.  The area would have plastic curbing filled with playground wood chip fill.  There would be an on-going maintenance cost to maintain the fill material.

Justification:

Install new playground in the area of the old playground, with modern fun equipment.

Fenced:  A fenced playground would add a secure feeling to parents while in worship service, but would send a “closed” message to the community.

Open:  An open playground would help our presence in the local community, but young parents might hesitate entrusting their children to the nursery staff if the children are outside, close to a street.

Benefits:

A playground would attract young families to our church.  A child’s playground would be another place for our neighbors to gather.

Cost:

Equipment:

Play Ground Equipment:  				$20,000

Playground Surface:  (50’ x 50’ x 4” = 833 cu ft):	$5,000

Ground Cloth (50’ x 50’ = 2,500 sq ft):			$300

Playground Curbing:  (200 ft):				$1,700

Fencing (Vinyl)					$4,000

Installation:

Est Cost:						$5,000

Est Fencing Cost					$3,000

Without Fence:

20% Contingency:					$6,400

Total Est. Cost:					$38,400

With Fence:

20% Contingency:					$7,800

Total Est. Cost:					$46,000

How will we pay for it? :

Capital Fund Drive

### Move worship to Fellowship Hall ($922,000)

Project Title:  	Move Worship Back to Fellowship Hall

Project Description:

Convert the Fellowship Hall back into a sanctuary and use it for regular Sunday worship services.  Only use the existing Sanctuary for large events (weddings, funerals, events).

Justification:

Reduce the need to heat and cool and light the large volume.  The smaller sanctuary seem fuller on Sunday mornings.  There might be a way to rent out the existing sanctuary for large events, but it must be done properly for tax purposes.

Benefits:

The smaller Sanctuary will be fuller on Sunday mornings.  Energy usage will be reduced substantially.

Cost:

Carpet the FH (5500 sq ft) = 		$28,000

Pews in FH: = 				$140,000

Organ for FH: =				$500,000

Raised Chancel: = 			$15,000

New Chancel Furniture: = 		$10,000

Railing for Choir: = 			$25,000

Misc:  Lighting, Sound = 			$50,000

Contingency (20%) = 			$154,000

Total Est. Cost = 			$922,000

How will we pay for it? :

Capital Fund Drive

### Move to a New Location ($1,500,000)

Project Description:  	Sell our present property and acquire another facility or build a new facility,				possibly near FM-96 or west of Interstate-45

Justification:  		Move to an area that is growing

Benefits:  		Be able to spend a larger percent of our resources on mission and ministry and 			less on 	building maintenance and repair.								A sanctuary size that is better suited to our congregation.

Provide a better service to God and community.

Attract more members.

Disadvantages: 		If we move too far some of our current members may join another church.				Some members will be offended by taking their church away from them.

The new debt might be debilitating.

Cost:  	          		$1,500,000 - The difference between the sale of present facility and the cost of 					buying land and building new facility;

The sale of our present facility will net approximately $1,900,000.							$2,900,000: Sale price less sale commission, repairs and mortgage pay off. 	                                                                                  	  			Cost of land and new building $3,400,000

Purchase 3 acres: approximately $750,000.							            	Building Cost: $2,640,000  											Sanctuary: $1,000,000 (5,000 sq.ft. @ $200/sq.ft.)

Education and admin offices: $1,200,000 (6,000 sq.ft. @ $200/sq.ft.)

20% Building contingency: $440,000

How will we pay for it? :

From proceeds of sale of present properties supplemented by capital fund 	drive and borrow the remainder.

### Organ ($136,819)

Project Description:

Repair or replace the Organ

Justification:

Current Organ is broken and in need of repair

Benefits:

Improved musing during Worship

Cost:

Three Options provided (See attached proposal)

Option 1:  $136,819.30 for all NEW pipes and equipment):

Option 2: Same as option 1 above except the builder would utilize USED pipes, as much as are available, and new chests - $114,583.30

Option 3: To upgrade only the console and rewire the organ, the price would be $55,449.12

How will we pay for it? :

Capital Fund Drive

Pipe Organ Proposals for Webster Presbyterian Church

Shawn S. Sanders

Pipe Organ Technicians

5302 Straight Arrow Drive

Atascocita, TX 77346-1807

Three Options as follows:

Option 1: We propose the following for $136,819.30 (all NEW pipes and equipment):

1) Increase the size of the instrument by 5 ranks of pipes and to 48 stops;

2) Install new Peterson ICS-4000® combination and switching system in console and chambers, including MIDI compatible inputs and outputs;

3) Install new thumb pistons on manuals to include 12 Generals and 6 divisional pistons per manual, inter-manual  and pedal reversibles, tutti and set buttons;

4) Install new LED music rack light;

5) Install new LED pedal light;

6) Relocate existing 16’ Lieblich Gedeckt (12 pipes and chest) near Swell division;

7) Install new chests and used Moller pipes for 16’ Bourdon (44 pipes);

8) Install new 5 stop manual chest in Great division;

9) Install new reservoir in Great/Pedal Division for proper winding;

10) Install new LED music rack and pedal lights;

11) Install independent 4’ Octave in Great, consisting of either new or used pipes, based upon acceptance and agreement with proposal (TBD);

12) Install new or reconditioned (Moller) 8’ Trumpet in Great, based upon acceptance and agreement with proposal (TBD);

13) Install used 8’ Rohr Flute in Great, consisting of pipes we have available;

14) Install used 4’ Melodia in Great, consisting of pipes we have available;

15) Install existing Mixture on new wind chest;

16) Install new Chimes and 25 note action, including volume control;

17) Provide all new fire retardant PVC telephone cable on all existing and new wind chests;

18) Provide new PVC wind lines where applicable, including replacement of existing flexible wind conductors as necessary;

19) Provide and install framing necessary for installation of new wind chest in Great division and Pedal pipes;

20) This proposal contains all related costs including purchase, manufacture and restoration of goods, shipping, and labor.

21) This proposal DOES NOT INCLUDE ANY LEATHER ISSUES. Since we have been maintaining the instrument, we have not had any issue with failing leather.

22) This proposal does not include MIDI voices, amplifiers or speakers.

Option 2: Same as option 1 above except the builder would utilize USED pipes, as much as are available, and new chests - $114,583.30

Option 3: To upgrade only the console and rewire the organ, the price would be $55,449.12.

This would include the following items (also included in figures above):

1) New Peterson ICS-4000® switching and combination machine;

2) New LED music rack light;

3) New LED pedal light;

4) All new fire-retardant PVC telephone-type cable  between chamber cages and existing wind chests;

5) Labor and shipping of goods.