Buildings and Grounds Report

July 23, 2007

The B&G committee did not meet during July.  B&G did however work several issues.


Install locks on the base cabinets in the Fellowship Hall


Met with electrician several times to facilitate the completion of the Library A/C

This is not complete due to the weather we experienced during July


Talking with youth leaders about completion of the sheetrock for the Youth Sunday School rooms   This should be scheduled soon


Replaced may lights in Fellowship Hall in advance of the Jim Paden event


Found defective dimmer (2000 Watt) that will be replaced soon


Found the root cause for the Food Prep side A/C unit malfunction in mid-July   This unit needs a new 3phase disconnect and is temporarily operational at this time   It will also need the repair of one of the refrigeration circuits and we are waiting on a quote from the vendor

Continued lawn care in spite of weather    B&G will also include the lawn care of the new property with its normal lawn service     The additional cost will be absorbed into the lawn care budget and any additional costs will be taken care of by a generous individual 


The Children’s Ministry is make headway on the finishing (painting) of the two newly re-rocked rooms in the CE Wing

Respectfully submitted,

Ross Looney, Chair

Buildings and Grounds

