Campus Management Committee Minutes 


Formerly Building and Grounds Committee

Meeting held June 14, 2012 from 6:30 PM to 7:30 PM

I was joined by Carol Kloves and Joan McMillan. We opened with a short prayer.

 The first item was the problem with the urinal in the men's restroom. All agreed that a licensed plumber should take a look at it as you suggested. 

  Item two was the problems we are having with doors being left unlocked after events or meetings. I suggested that we start placing signs on the doors reminding everyone to lock the door on the way out.  Joan suggested that we notify the staff and place notices in the bulletin and the newsletter.  

  Item three was the problem with the parking lot lighting.  Joan tells me that the lights are not coming on at the correct time. I checked the timer and found nothing wrong so I will contact Jim Magnant to go over our steps from last time. This is not a new problem. Joan also mentioned that a couple of the outside lamps for Fellowship hall need replacing. I will try to take care of that this week.

 The last Item was regarding the Presbytery meeting scheduled for October  at WPC. We need to do some cleanup and  painting prior to the meeting and we should start making a list next month. I mentioned that I found a website that can supply lenses for our fluorescent fixtures of all shapes and sizes. I need to measure the fixtures to determine a price per unit. One more for my list of things to do.

That's everything we covered. Feel free to call if you have any questions.

