Campus Management Committee Minutes

3/18/21

Attendees:

Jennifer Carr, Erik Kinzler, James Kinzler

Notes:

Roofs – SANCTUARY - Mike Bradley and I attempted to spray water on the Sanctuary roof to find the path in that has been evident with some substantial rain events from the NOrthEast but without luck.  George Koenig and Eric Late were inside the Sanctuary as spotters with the FLIR camera and no moisture was detected. CE – Erik Kinzler and Ralph Faxel found a 4” slit over room 201. James has contact the Membrane repair contractor but he has not been available for a repair as of yet.

Freeze Impacts and Repairs – FELLOWSHIP HALL - Repairs were completed for the FH food prep water line that had a small leak in the outdoor isolation valve only when open.  BOUTON HALL KITCHEN – the lines to and from the hot water heater are outside along the west wall of the kitchen and will be relocated into the attic space to avoid a future leak.

Lights – OFFICE and LIBRARY  replacement of fluorescent to LED are complete, MEETING ROOM is in progress with BOUTON HALL to follow.  Thanks to Bill Dixon for continuing this work.

Ceiling Tiles – MEETING ROOM ceiling tile replacement is currently in progress and the BOUTON HALL STORAGE CLOSET tiles missing were replaced. Way to go Bill Dixon, George Koenig and Rick Loynes.

Breezeway – the rotted facia board has been replaced with hardie and new flashing installed. Thanks to Ed Tobia, Bill Dixon, George Koenig and James Kinzler for the fix on the facia.

Garden Benches – all benches have been disassemble, water blasted and repainted by George Koenig.  James will spot a day for reassembly and also source wood for replacement slats.

COVID Update – a zoom call to integrate thoughts from Worship, CMC, Personnel, Pastors, and Vision was held and a newsletter item will be added to the April newsletter with highlights of the forward plan including continued use of the 3 TMC covid metrics of which 1 is green and 2 are red, continue with the masking/social distance policies for use of facilities, note that the office remains closed, the campus can be used for WPC groups or outside group on case by case basis.  Current examples are Saturday recording, Sunday Worship, Mens Group Mission Projectj, and Family Promise.  Other outside groups are not currently using WPC facilities.

Maintenance Item – Erik noted that the FH gutters need to be cleared and James will add it to the mtc list.  Erik also noted Ken has a helpful tool for the project. Ken, lets discuss.  Thanks James.

Post Meeting Note – WPC is hoping to receive a grant for repairs following the freeze. More to come.

Thanks folks,

James