Campus Management Update to Session – May 2024

Bouton Hall/Office Roof repair/replacement will be installed in early June.  Thank you Session for supporting this work to keep WPC watertight.

In preparation for the roof repair work, Ralph Faxel, Joe Schwarz and James Kinzler have cleared overhead branches along NASA Parkway.

AC Unit repairs.  The AC for the Sanctuary Narthex had a fan failure and has been repaired.  The Fellowship Hall East AC had a motor failure and the motor has been replaced.  The Bouton Hall East AC is fairly dated and was not operating but our AC contractor, Gurry Mechanical, found a motor issue and we are back up and running with full east and west AC units in Bouton Hall.

Thermostat Upgrades for the Sanctuary continue to progress with programming for the recurring use times while setting the temperature back when possible to be good stewards of power use.  Campus Management has worked with EarthCare and WAM to save  power while keeping art and electronics in a reasonable temperature range. For Committee Information, when the Sanctuary is to be used for a special event outside of our normal recurring schedule.  The AC units controlled by the thermostats on the East and West Walls can be temporarily adjusted using the Override located on the upper left of the Thermostat Screens.  If you have questions, please let James Kinzler know and you can see how easy the override can be done.

Plans are still progressing for a redo of the Japanese Garden.  Leaders of this effort are Carrie McCray, Phyllis Koenig and a visitor interested in our Japanese history.

A Health/Safety/Security Team is kicked off to review and make suggestion on any changes in these areas.  More to come as the Team works through what we do vs what other areas Churches do to get to recommendations for WPC.

Submitted by James Kinzler on behalf of Campus Management