WPC – Campus Management Committee Meeting Notes – 11/18/21

Attendees: Ken Thompson, Ross Looney, Jennifer Carr, Erik Kinzler, James Kinzler

Notes:

Solar Update - Joe – No update at this time

Thermostat Update – Joe – no update at this time

COVID Update – James – Trend is going up 5 new cases per day for the greater Houston area. No proposed changes to policy suggested.

CE Building Upgrades Update – James – 1st floor - Painting is near done, new door knobs are installed, bathroom redo contractor got covid and is delayed and is likely to finish about month end

Sanctuary Roof Update – James – Contractor is engaged to estimate sealing of the stucco on the back (SE) side of the raised section of the Sanctuary, the contractor is also going to make repairs over the narthex

Asana Maintenance Callup/Tracking – Erik – we will add ac filter changes, bearing grease annually,

Air Filter Order – Ross will order, Erik will document what to order, See the Blue Binder

New Meeting Date – all – Suggest Tuesday at 7pm, Mike please confirm if that works for you.

Parking Lot Lights – 5 yr warrantee has run out, May not be replaceable parts, need a bucket truck to 
reach them, lights are LED. See the Blue Book for history and installer for mtc.  Ross will check with his electrician colleague.

Narthex AC - Jennifer – note sure ac is working in holy grounds. James to check the ac and call Wray AC if the repaired ac has a leak or other issue

Ice Maker repair estimate is $900 plus.  A new unit may be needed.  Jennifer is checking with the supplier on a new Ice Maker.

Fire Department Box – check with Fire Department on box and contents – James

Thanks folks,

James