Buildings and Grounds Report

September 24, 2007

The B&G committee did not meet during the month of September. 
Summary of Tasks Performed for September:
1.  Volunteers from the Youth Mission Committee coordinated the floating and taping the newly installed sheetrock in Jr. and Sr. High Youth Sunday School rooms on 2nd floor of CE wing.  The painting of these rooms has begun and looks very good.
2. Flower and shrub maintenance continued to be performed on beds in and around Sanctuary, Admin and CE building, and Fellowship Hall.

3. Lawn care continued on all grounds including the new property. 

4. Meeting was set to meet Carlson Roofing to address roof leaks in gallery and Bouton Hall areas in Admin building.
5. Spoke with the electrician again on the library A/C issue.  He is tied up with 5 house installs at this time and will advise me at his earliest opportunity to complete the tie in.  This is important as the tie in is done hot and will add the capacity for the heaters in the CE wing for this winter.
Future near Term Projects:
1. Coordinate with Youth Mission Committee to complete floating sheetrock and painting the Jr. and Sr. High Youth Sunday School rooms on 2nd floor of CE wing.

2. Get vendor quote to install a new 3phase disconnect for A/C unit in kitchen area of Fellowship Hall.  This can be done in-house if schedules can be cleared up.
3. Move forward with the replacement of the condensing unit that supplies the “kitchen” side A/C in the FH. 

4. A meeting with AJS Janitorial Services should be scheduled to address quality of cleaning in some areas (this must be coordinated with the other stakeholders).    

5. Schedule workday for late October or early November to address several clean up, maintenance, and repair projects.  Some of these are the repair of burned fencing around trash dumpster, new property clean up and fence removal, repair sidewalk between Fellowship Hall and Admin Building, replacement of ceiling tiles and lighting/light diffusers in Bouton Hall, etc.
6. Research into warranties for the roofing installation on the new building.  There are numerous leaks at the junction of the flat roof over the narthex and the flat high wall that houses the “Cheryl” window.
The next committee meeting is scheduled for Wednesday October 3, 2007.

Respectfully submitted,

Ross Looney, Chair

Buildings and Grounds

