Campus Management Update to Session – September 2025

Flood Recovery Update…

We are getting three contractor estimates for repairs to sheetrock and carpet to return to as close to "what was" as possible.  Two of the three contractors were contacted by James Kinzler and one contractor was contacted by Missy Rohrer as she has used them regularly and they have done work at WPC previously.  All contractors are working up the estimates and one has been received as of Monday.  CMC will compare the contractor estimates as they come in. After estimates are reviewed, CMC will identify a recommended contractor and will
confer with Finance and the Treasurer prior to moving forward.   Session will be advised as the process progresses.

Kevin, Dennis and James have asked for assistance from member John Hightower who is a lawyer.  We have asked John to draft a letter to the HG Fire company that performed the test but who had not closed an upstream valve that allowed flood waters from the break to run until a manual block valve could be closed.  If a block valve had been closed, a failure would have only resulted in the need for repair to the pipe but no flood damage to WPC would have occurred.

Estimated Cost for recovery and repairs… The initial cleaning after the flood was completed by Serv Pro for $21,500.  WPC volunteers completed a relatively urgent need to repair sheetrock in the AC Mechanical Room at nominal cost.  Sheetrock, walls and carpet are expected to be around $15,000.  Repair of the failed fire water supply line is estimated at $40,000 plus. Kevin can provide information on available funding for the recovery/repair.

The following is the newsletter item on the sprinkler system test failure/flood for the coming Newletter...
The WPC Campus has been a bit busy lately with fire water running down the hallway of the Sanctuary and a resulting mess.  We had a hydrotest of the pipe that is done every 5 years and our pipe under the foundation failed this time after 25 years.  It took a bit of time to stop the flow and now we have lots of repairs to complete.  Thanks to Geri Foster, Judy Ford, Michael Cooper and Pastor Todd for helping with the initial clean up.  Also, thanks to Ed Tobia, Joe Schwarz and Ralph Faxel for making sheetrock repairs in the AC room so we could get the plastic off of the walls which you may have seen.  Next will be contractor work to repair the walls and put in new carpet. Estimates are in progress.

Japanese Garden… As you walk down the Hall by the Office, you see blue boards.  Those
will be a pergola for the Japanese Garden.  The Garden area was recently repainted to be ready for the pergola installation.  Thanks to Jimmy and Carrie for leading this
effort and for addional volunteers for clearing, scraping, repairing and painting including Ralph Faxel, Joe Schwarz, Geoff Rohrer, Kathy Dixon and James Kinzler.

Powerwashing our Sign… Way to go Vierra Ezhevskaya for power washing our WPC sign along NASA Parkway. It looks so much better.

Tree Trimming… Thanks to Ralph Faxel for contracting tree trimming to keep our
sidewalk safe and tree limbs clear from power lines.

New Security Cameras and Door Bell… Coming soon you will see new security cameras around the Office and Ed Wing lead by Ralph Faxel with support by Jimm Cooper and James Kinzler.  We also have ongoing AV and lighting upgrades for the Sanctuary.  The cameras are in progress now and the AV/lighting work is being estimated.